## Pressure sensor
Equation of linear dependence at two points (example of a pressure sensor)
BAR equation |  |  | BAR | = | -1.3836 | + | 2.5373 | * Vout
Widget Equation |  |  |  |  | -1.3836 | + | 2.5373 | * d.ADC
Calibration values:
two measuring points
Y |  | X
БАР1 | 2.6 | V1 | 1.57
БАР2 | 4.3 | V2 | 2.24
EXAMPLE - Calculation of BAR value
BAR | 3.691 | Vout | 2
EXAMPLE - Calculating the value of Vout
Vout | 2.91 | BAR | 6
Chart data
Vout | BAR
5.2747 | 12
2.91 | 6
0.54529 | 0